## 0. ITB
INSTRUCTIONS:
A. Bidders shall fill in the cells in blue for all the tabs of this spreadsheet
B. All Tabs should be filled per mini-grid service area, in other words 1 table per mini-grid

## 1. PQ-SQ-PRe
Mini-grid name or number |  |  | Example 1
Customer type | PQ | SQ | PRe | Number of customers per group
Residential - group A | Select PQ | Select a Tier | Select a PRe
Residential - group B | Select PQ | Select a Tier | Select a PRe
Residential - group C | Select PQ | Select a Tier | Select a PRe
Public Institutions - group A | Select PQ | Select a Tier | Select a PRe
Public Institutions - group B | Select PQ | Select a Tier | Select a PRe
Public Institutions - group C | Select PQ | Select a Tier | Select a PRe
C&I - group A | Select PQ | Select a Tier | Select a PRe
C&I - group B | Select PQ | Select a Tier | Select a PRe
C&I - group C | Select PQ | Select a Tier | Select a PRe

## 2. IRL
Mini-grid name or number | Offered IRL: | Complementary or explanatory notes if necessary
Example 1 | Select an IRL

## 3. Operational KPIs
22.04.2021 To be updated after the final revision on the KPIs
# | Indicator | Unit | Offered frequency of reporting | Reporting method
TECHNICAL PERFORMANCE INDICATORS
1 | Total electricity out or supplied | kWh | Select frequency | Select
2 | Electricity generation from solar PV | kWh | Select frequency | Select
3 | Generation from fossil fuel generator | kWh | Select frequency | Select
4 | Solar fraction of generation | % | Select frequency | Select
5 | Mini-grid capacity factor | % | Select frequency | Select
6 | Total number of outages | Unit | Select frequency | Select
7 | Sy stem Average Interruption Frequency Index (SAIFI) | Interruptions / customer | Select frequency | Select
8 | System Average Interruption Duration Index (SAIDI) | Hours / customer | Select frequency | Select
9 | Average duration of daily service (for non 24/7 service) | Hours | Select frequency | Select
10 | Diesel generator runtime | Hours | Select frequency | Select
11 | Diesel generator fuel consumption | L | Select frequency | Select
12 | Diesel generator oil consumption | L | Select frequency | Select
13 | Battery state of charge | % | Select frequency | Select
14 | Voltage at power plant output; minimum and maximum reported | Volt (V) | Select frequency | Select
15 | Voltage at the furthest client point from the power plant; minimum and maximum reported, or | Volt (V) | Select frequency | Select
| Voltage at the end of each feeder, if there are separate feeders for each phase |  | Select frequency | Select
16 | Frequency reported at power plant output; minimum and maximum | Hertz (Hz) | Select frequency | Select
17 | Distribution Losses | In kWh or % of total energy production | Select frequency | Select
COMMERCIAL PERFORMANCE INDICATORS
18 | Total number of customers | Unit | Select frequency | Select
19 | Number of connections per tier | Unit | Select frequency | Select
20 | Number of connections per category | Unit | Select frequency | Select
21 | Total number of new customers | Unit | Select frequency | Select
22 | New customers per tier | Unit | Select frequency | Select
23 | New customers per category | Unit | Select frequency | Select
24 | Payment collection rate | % | Select frequency | Select
25 | Payment collection rate per user tier | % | Select frequency | Select
26 | Payment collection rate per user category | % | Select frequency | Select
27 | Total OPEX | Currency Unit | Select frequency | Select
28 | Number of staff employed | Unit | Select frequency | Select
29 | Staff cost | Currency Unit | Select frequency | Select
30 | Hardware related expenses | Currency Unit | Select frequency | Select
31 | Insurance expenses | Currency Unit | Select frequency | Select
32 | Land rentals and wayleaves | Currency Unit | Select frequency | Select
33 | Transport costs (including fuel) | Currency Unit | Select frequency | Select
34 | Total fuel costs | Currency Unit | Select frequency | Select
35 | Total revenues from power sales | Currency Unit | Select frequency | Select
36 | Revenues per user category | Currency Unit | Select frequency | Select
37 | Revenues per user tier | Currency Unit | Select frequency | Select
38 | Commercial losses | Currency Unit | Select frequency | Select

## 4. Equipment standards
Mini-grid name or number |  | Example 1
COMPONENT | STANDARD | TITLE | COMPLIANCE | EVIDENCE PROVIDED TO SHOW COMPLIANCE (e.g. equipment data sheet, catalogue reference, contract with supplier) | COMMENTS
PV MODULES | IEC 61215 | Terrestrial photovoltaic (PV) modules – Design qualification and type approval | Select Yes/No
| IEC 61730-1 and 2 | Photovoltaic (PV) module safety qualification | Select Yes/No
| IEC TS 62804 | Photovoltaic (PV) modules – Test methods for the detection of potential-induced degradation | Select Yes/No
| IEC 61701 | Photovoltaic (PV) modules – Salt mist corrosion testing, only if the PV modules will be operating under wet atmospheres with a high concentration of dissolve salt (NaCl) | Select Yes/No
| Other standards | Indicate extra standards offered, if available | Select Yes/No
DIESEL GENERATOR | IEC 60034 | Rotating electrical machines | Select Yes/No
| ISO 3046 | Reciprocating internal combustion engines - Performance | Select Yes/No
| ISO 8528 | Reciprocating internal combustion engine driven alternating current generating sets | Select Yes/No
| Other standards | Indicate extra standards offered, if available | Select Yes/No
PV INVERTER | IEC 62109-1 | Safety of power converters for use in photovoltaic power systems – Part 1: General requirements | Select Yes/No
| IEC 62109-2 | Safety of power converters for use in photovoltaic power systems – Part 2: Particular requirements for inverters | Select Yes/No
| IEC 62894 or EN 50524 | Data sheet and name plate for photovoltaic inverters | Select Yes/No
| IEC 61683 | Photovoltaic systems – Power conditioners – Procedure for measuring efficiency | Select Yes/No
| Other standards | Indicate extra standards offered, if available | Select Yes/No
BATTERY INVERTER | IEC 62109-1 | Safety of power converters for use in photovoltaic power systems – Part 1: General requirements | Select Yes/No
| IEC 62109-2 | Safety of power converters for use in photovoltaic power systems – Part 2: Particular requirements for inverters | Select Yes/No
| Other standards | Indicate extra standards offered, if available | Select Yes/No
BOTH PV AND BATTERY INVERTER | IEC 61000-3-2 | Electromagnetic compatibility (EMC) - Part 3-2: Limits - Limits for harmonic current emissions (equipment input current ≤16 A per phase) | Select Yes/No
| IEC 61000-3-3 | Electromagnetic compatibility (EMC) - Part 3-3: Limits - Limitation of voltage changes, voltage fluctuations and flicker in public low-voltage supply systems, for equipment with rated current ≤16 A per phase and not subject to conditional connection | Select Yes/No
| IEC 61000-3-11 | Electromagnetic compatibility (EMC) - Part 3-11: Limits - Limitation of voltage changes, voltage fluctuations and flicker in public low-voltage supply systems - Equipment with rated current ≤ 75 A and subject to conditional connection | Select Yes/No
| IEC 61000-3-12 | Electromagnetic compatibility (EMC) - Part 3-12: Limits - Limits for harmonic currents produced by equipment connected to public low-voltage systems with input current >16 A and ≤ 75 A per phase | Select Yes/No
| IEC TS 61000-3-4 | Electromagnetic compatibility (EMC) - Part 3-4: Limits - Limitation of emission of harmonic currents in low-voltage power supply systems for equipment with rated current greater than 16 A | Select Yes/No
| IEC TS 61000-3-5 | Electromagnetic compatibility (EMC) - Part 3-5: Limits - Limitation of voltage fluctuations and flicker in low-voltage power supply systems for equipment with rated current greater than 75 A | Select Yes/No
| IEC 61000-6-1 | Electromagnetic compatibility (EMC) - Part 6-1: Generic standards - Immunity standard for residential, commercial and light-industrial environments | Select Yes/No
| IEC 61000-6-2 | Electromagnetic compatibility (EMC) - Part 6-2: Generic standards - Immunity standard for industrial environments | Select Yes/No
| Other standards | Indicate extra standards offered, if available | Select Yes/No
PV CHARGE CONTROLLERS | IEC 62509 | Battery charge controllers for photovoltaic systems - Performance and functioning | Select Yes/No
| IEC 62109-1 | Safety of power converters for use in photovoltaic power systems – Part 1: General requirements | Select Yes/No
| Other standards | Indicate extra standards offered, if available | Select Yes/No
LI-ION BATTERIES | IEC 61427-1 | Secondary cells and batteries for renewable energy storage - General requirements and methods of test - Part 1: Photovoltaic off-grid application | Select Yes/No
| IEC 61427-2 | Secondary cells and batteries for renewable energy storage - General requirements and methods of test - Part 2: On-grid applications | Select Yes/No
| IEC 62619 | Secondary cells and batteries containing alkaline or other non-acid electrolytes - Safety requirements for secondary lithium cells and batteries, for use in industrial applications | Select Yes/No
| IEC 62133-2 | Secondary cells and batteries containing alkaline or other non-acid electrolytes - Safety requirements for portable sealed secondary lithium cells, and for batteries made from them, for use in portable applications - Part 2: Lithium systems | Select Yes/No
| IEC 62485-1 | Safety requirements for secondary batteries and battery installations – Part 1: General safety information | Select Yes/No
| IEC 62485-2 | Safety requirements for secondary batteries and battery installations – Part 2: Stationary batteries | Select Yes/No
| UL 1642 | Lithium batteries | Select Yes/No
| UN 38.3 | Transport of Li-ion batteries | Select Yes/No
| Other standards | Indicate extra standards offered, if available | Select Yes/No
LEAD-ACID BATTERIES | IEC 61427-1 | Secondary cells and batteries for renewable energy storage - General requirements and methods of test - Part 1: Photovoltaic off-grid application | Select Yes/No
| IEC 61427-2 | Secondary cells and batteries for renewable energy storage - General requirements and methods of test - Part 2: On-grid applications | Select Yes/No
| IEC 60896 | Stationary lead-acid batteries | Select Yes/No
| Other standards | Indicate extra standards offered, if available | Select Yes/No
TRANSFORMERS | IEC 60076 | Power Transformers | Select Yes/No
| IEC 60296 | Fluids for electrotechnical applications – Mineral insulating oils for electrical equipment | Select Yes/No
| Other standards | Indicate extra standards offered, if available | Select Yes/No
METERING | IEC 62053-21:2020 | Electricity metering equipment - Particular requirements - Part 21: Static meters for AC active energy (classes 0,5, 1 and 2). | Select Yes/No
Select Yes/No
| IEC 62053-23:2020 | Electricity metering equipment - Particular requirements - Part 23: Static meters for reactive energy (classes 2 and 3). | Select Yes/No
| EN 50470-1 | Electricity metering equipment (a.c.) - Part 1: General requirements, tests and test conditions - Metering equipment (class indexes A, B and C) | Select Yes/No
| Other standards | Indicate extra standards offered, if available | Select Yes/No
MONITORING | IEC 61724 | Photovoltaic system performance | Select Yes/No
| Other standards | Indicate extra standards offered, if available | Select Yes/No
CONNEXION INSIDE USER'S PREMISES | IEC 60364 | Low-voltage electrical installations | Select Yes/No
| IEC 60947 | Low-voltage switchgear and control gear | Select Yes/No
| IEC 61439-1, -2 and -3 | Low-voltage switchgear and control gear assemblies | Select Yes/No
| IEC 61008 | Residual current operated circuit-breakers without integral overcurrent protection for household and similar uses (RCCBs) | Select Yes/No
| IEC 60898 | Electrical accessories - Circuit-breakers for overcurrent protection for household and similar installations | Select Yes/No
| Other standards | Indicate extra standards offered, if available | Select Yes/No
| MONITORING FUNCTIONALITY | DESCRIPTION | COMPLIANCE | DESCRIBE FUNCTIONALITY | COMMENTS
| Battery monitoring | Evaluation of the State of Charge via an algorithm that takes into account the initial capacity, measurement of incoming and outgoing Ah at a specific rate, battery efficiency, aging (increase in internal resistance), voltage, temperature, self-discharge and the specific battery technology. | Select Yes/No
|  | Indicate extra functionality, if available | Select Yes/No
| Operational status | Real time information on the state of the system. | Select Yes/No
|  | Record of past events and faults. | Select Yes/No
|  | Visual aid to the operator in O&M tasks displaying key parameters. | Select Yes/No
|  | Troubleshooting. | Select Yes/No
|  | Indicate extra functionality, if available | Select Yes/No
| Measurements | Current and voltage of the PV generator, PV inverter, battery, battery inverter, diesel generator and grid. | Select Yes/No
|  | Solar irradiation, ambient temperature, PV module’s temperature. | Select Yes/No
|  | Indicate extra functionality, if available | Select Yes/No
| Energy balance (available on site or via computer post-processing) | Energy supplied by the PV generator, PV inverter, diesel generator, battery and battery inverter (last two including both charging and discharging). | Select Yes/No
|  | Energy delivered to the grid. | Select Yes/No
|  | PR if applicable. | Select Yes/No
|  | Indicate extra functionality, if available | Select Yes/No

## 5. Warranties
COMPONENT | WARRANTY: number of years | WARRANTY CERTIFICATE PROVIDED
PV module (product warranty) |  | Select Yes/No
PV module (performance warranty) |  | Select Yes/No
Diesel generator |  | Select Yes/No
PV inverter |  | Select Yes/No
Battery inverter |  | Select Yes/No
PV charge controller |  | Select Yes/No
Li-ion battery |  | Select Yes/No
Lead-acid battery |  | Select Yes/No